DAILY WATER STATUS REPORT

WATER DEPARTMENT

04/30/2025

|  | Reservoir | Level | %Full | Rainfall# | Flow Release to River# |
| --- | --- | --- | --- | --- | --- |
|  | South Rivanna | Full | 100.00 | 0.00'' | Spillway Overflow |
|  | Ragged Mountain | -0.52' | 97.79 | 0.00'' | 0.03 MGD |
|  | Sugar Hollow | -5.06' | 79.29 | 0.00'' | Spillway Overflow |
|  | Beaver Creek | Full | 100.00 | 0.00'' | Spillway Overflow |
|  | Totier Creek | Full | 100.00 | 0.00'' | Spillway Overflow |

|  | # Rainfall and flow release are totals from the previous day. |
| --- | --- |
|  | Urban Reservoirs: 96.16% of Useable Capacity. |
|  | The water level in Sugar Hollow Reservoir was lowered to perform maintenance on the dam. The reservoir will be at this level until May 2025. The Sugar Hollow Reservoir to Ragged Mountain Reservoir Transfer Line was opened on February 3, 2025 and closed on February 17, 2025. |

|  | 04/29/2025 | Production (MG) |
| --- | --- | --- |
|  | South Rivanna WTP | 8.708 |
|  | Observatory WTP | 1.113 |
|  | North Rivanna WTP | 0.437 |
|  | Total Urban Flow | 10.258 |
|  | Crozet WTP | 0.648 |
|  | Scottsville WTP | 0.050 |
|  | Red Hill WTP | 0.003 |

___________________________________